${QR}

**Attention to:** ﻣﺆﺳﺴﺔ ﻓﻼﺡ ﺧﺎﻟﻒ ﻋﺒﺪﺍﻟﻠﻪ ﺍﻟﺸﻤﺮﻱ ﻟﻠﻤﻘﺎﻭﻻﺕ

**IDI PR #:** **127518**

**Established by: Ahmed El Saeed**

**TIS Visit**

**Inspection Report - Waterproofing Envelope Assessment**

**Date of visit: 20-Feb-2025**

**Location: 24.6722287,46.7283438**

 **( Madina Branch, Saudi Arabia)**

|  |  |  |  |
| --- | --- | --- | --- |
| **Owner** | ﻓﺎﻳﺰ ﺳﻮﻳﻠﻢ ﻓﺎﻟﺢ ﺍﻟﺸﻤﺮﻱ | **TIS Company** | CPV Arabia  |
| **Contractor** |  ﻣﺆﺳﺴﺔ ﻓﻼﺡ ﺧﺎﻟﻒ ﻋﺒﺪﺍﻟﻠﻪ ﺍﻟﺸﻤﺮﻱ ﻟﻠﻤﻘﺎﻭﻻﺕ | **Report Issue Date** |  |
| **Project Location** |  ﺟﻮﺍﺭ ﻗﺼﺮ ﺍﻟﺮﻭﺿﺔ | **Inspection #** | 1 |
| **Inspection Stage** | Waterproofing Envelope Assessment | **No. Of buildings** | 1 |
| **Inspector Name** | Ahmed El Saeed | **Work in progress** | Waterproofing Envelope Assessment |
| **Email** | asaeed@cpvarabia.com | **Telephone** | 581097803 |

|  |
| --- |
| **Inspection Results: Additional Vsit** |
| **Description of the inspections carried out:**CPV ARABIA has conducted an on-site technical inspection (IDI) for Project PR #127518 during the pre-pouring phase of the Waterproofing Envelope Assessment.The details of the inspection are described further as we go through this report. |

**Summary**

|  |
| --- |
| **Risks may affect the building stability and stop the work (To be resolved by sending the required documents):**- Not exist**Stages missed without TIS involvement (To be resolved by performing the required tests for the missed elements):**- Not exist**Interpretation of Additional Visit:**- There are major defects in the basement waterproofing- There are major defects in the facade waterproofing- There are major defects in the roof waterproofing**Technical Reservations (To be closed by providing the required certificates and reports before the final visit):**- Not exist**Note:**- Not exist |

|  |
| --- |
| General Site Pictures and Construction Plans |
|  |
|  |
| General site picture and construction plans  |

Risk Assessment

|  |
| --- |
| **There are major defects in the basement waterproofing**  **Not Passed** |
| **There are major defects in the basement waterproofing**  **Not Passed** |
| **There are major defects in the facade waterproofing**  **Not Passed** |
| **There are major defects in the facade waterproofing**  **Not Passed** |
| **There are major defects in the roof waterproofing**  **Not Passed** |
| **There are major defects in the roof waterproofing**  **Not Passed** |

|  |  |  |
| --- | --- | --- |
| **Engineer In Charge of Inspection** | **Area Manager** | **Technical Inspection Manager** |
| **Name:** Ahmed El Saeed | **Name:**  | **Name:**  |
| **Signature:** | **Signature:**  | **Signature:**  |
| Date of Issuing the report:  |