${QR}

Attention to: ﻣﺆﺳﺴﺔ ﺑﻨﺎﺀ ﺻﺎﻟﺢ ﻫﺎﺩﻱ ﺍﻝ ﺷﻬﻲ ﻟﻠﻤﻘﺎﻭﻻﺕ

IDI PR #: 247116

Established by: Hussain Alsoltan

# TIS Visit

# Inspection Report - Waterproofing Envelope Assessment

Date of visit: 22-Jan-2025

Location: 24.6722041,46.7283015

( Dammam Branch, Saudi Arabia)

| Owner | ﻓﺮﻳﺢ ﺑﻦ ﻓﻬﻴﺪ ﺑﻦ ﻓﺮﻳﺢ ﺍﻟﺸﻤﺮﻱ | TIS Company | CPV Arabia |
| --- | --- | --- | --- |
| Contractor | ﻣﺆﺳﺴﺔ ﺑﻨﺎﺀ ﺻﺎﻟﺢ ﻫﺎﺩﻱ ﺍﻝ ﺷﻬﻲ ﻟﻠﻤﻘﺎﻭﻻﺕ | Report Issue Date |  |
| Project Location | ﺣﻲ ﺍﻟﺼﻔﺎﺀ | Inspection # | 2 |
| Inspection Stage | Waterproofing Envelope Assessment | No. Of buildings | 1 |
| Inspector Name | Hussain Alsoltan | Work in progress | Waterproofing Envelope Assessment |
| Email | halsoltan@cpvarabia.com | Telephone | 581087674 |

Inspection Results: Additional Vsit

Description of the inspections carried out: CPV ARABIA has conducted an on-site technical inspection (IDI) for Project PR #247116 during the pre-pouring phase of the Waterproofing Envelope Assessment. The details of the inspection are described further as we go through this report.

Summary

Risks may affect the building stability and stop the work (To be resolved by sending the required documents): - Not exist Stages missed without TIS involvement (To be resolved by performing the required tests for the missed elements): - Not exist Interpretation of Additional Visit: - There are major defects in the basement waterproofing Technical Reservations (To be closed by providing the required certificates and reports before the final visit): - BACKFILL U/F PLATE LOAD TEST AND COMPACTION TEST Note: - Not exist

General Site Pictures and Construction Plans

General site picture and construction plans

Risk Assessment

There are major defects in the basement waterproofing Not Passed

There are major defects in the basement waterproofing Not Passed

There are no defects in the facade waterproofing Passed

There are no defects in the facade waterproofing Passed

There are no defects in the facade waterproofing Passed

There are no defects in the facade waterproofing Passed

There are no defects in the roof waterproofing Passed

There are no defects in the roof waterproofing Passed

There are no defects in the roof waterproofing Passed

There are no defects in the roof waterproofing Passed

| Engineer In Charge of Inspection | Area Manager | Technical Inspection Manager |
| --- | --- | --- |
| Name: Hussain Alsoltan | Name: | Name: |
| Signature: | Signature: | Signature: |
| Date of Issuing the report: |  |  |